## Slide 1
Decontamination of medical devices
Jon Otter, PhD FRCPath
Imperial College London
j.otter@imperial.ac.uk
@jonotter
Blog: www.ReflectionsIPC.com
Slides: www.jonotter.net

## Slide 2: When medical device decontamination fails…
Epstein et al. JAMA. 2014;312:1447-55.
Rutala & Weber. Am J Infect Control 2016;44 (Suppl):e47-51
39 patient CRE outbreak in 2013 in Illinois.1
Odds ratio for duodenoscope exposure in case patients 78 (confidence interval 6-1008).
No breakdown in compliance with decon procedures.
Outbreak resolved when decon approach for the scopes modified.
Has prompted a global review and change in the way that these devices are decontaminated.2

## Slide 3: Medical device classification

## Slide 4: Principles of medical device decon

## Slide 5: Spaulding classification

## Slide 6
Which decon method?
Intended use
Infection risk
Soiling
Notes: Also: cost, availability, expertise

## Slide 7: Decontamination options

## Slide 8
Decon and compatibility
Medical device companies
Regulators
Users
Decon companies
Notes: Differences in regulatory frameworks in different countries

## Slide 9
Centralisation
Standardisation
Regulation
Future perspectives
Notes: Standardisation of developing manufacturers’ guidelines

## Slide 10: Summary
Importance of decon (e.g. CPE in endoscopes)
Principles of medical device decon
Overview of decon options
Decontamination and compatibility
Future perspectives

## Slide 11: Resources
Managing Medical Devices. Guidance for healthcare and social services organisations. MHRA, April 2015.
Institute of Decontamination Sciences (IDSC) publications.
Guidelines for Environmental Infection Control in Health-Care Facilities. MMWR 2003; 52(RR10):1-42.
Decontamination of surgical instruments (HTM 01-01).
Management and decontamination of flexible endoscopes (HTM 01-06).

## Slide 12
Decontamination of medical devices
Jon Otter, PhD FRCPath
Imperial College London
j.otter@imperial.ac.uk
@jonotter
Blog: www.ReflectionsIPC.com
Slides: www.jonotter.net